# PLG-SOP-011 Commercial Unit Inspection SOP (v1.0)

## Document Control

| Field | Value |
| --- | --- |
| Document ID | PLG-SOP-011 |
| Version | 1.0 |
| Effective date | 3 March 2025 |
| Owner | Estate Management |
| Approved by | Marcus Lim |
| Next review | 3 March 2026 |
| Status | Superseded |
| Supersedes | - |
| Classification | Restricted (fictional POC data) |

## Revision History

| Version | Date | Author | Summary of changes |
| --- | --- | --- | --- |
| 1.0 | 2025-03-03 | Daniel Ong | First issue |

# 1. Purpose

This SOP standardises inspections of HEB commercial units to check compliance with tenancy conditions and PLG-POL-001 Trade Mix & Usage Policy, and to detect building defects early.

# 2. Scope

Applies to Property Officers and Estate Managers in PLG Estate Management for all commercial units.

# 3. Inspection Types

| Type | Trigger | Frequency |
| --- | --- | --- |
| Routine | Annual roster | At least once per unit per year |
| Complaint-driven | Public feedback / CRM case | Within 3 working days of case assignment |
| Follow-up | Open breach | Per section 5 timelines |

# 4. Procedure

| Step | Activity | Details |
| --- | --- | --- |
| 1 | Plan | Each unit is inspected at least once a year (routine). The Estate Manager approves the monthly inspection roster by the 25th of the preceding month. |
| 2 | Prepare | Download the unit list, approved trades and open breaches from PLG Records. Check open feedback cases for the block. |
| 3 | Inspect | Complete checklist IC-01 for each unit. Take photos of any breach. |
| 4 | Record | Enter results in PLG Records within 2 working days using the finding codes in section 6. |
| 5 | Follow up | Minor breach: re-inspect within 14 days. Major breach: re-inspect within 14 days and escalate to the Estate Manager. |
| 6 | Close | Close the inspection once the breach is rectified, or once enforcement action has been issued. |

# 5. Follow-up Timelines

| Outcome | Re-inspection | Escalation |
| --- | --- | --- |
| Minor Breach | Within 14 days | Warning letter if not rectified |
| Major Breach | Within 14 days | Estate Manager; enforcement per POL-001 cl. 8 |

# 6. Finding Codes

| Code | Description | Outcome class |
| --- | --- | --- |
| NONE | No issues observed | Compliant |
| DISPLAY_ENCROACH | Goods/furniture beyond permitted display area | Minor Breach |
| HYGIENE | Refuse, grease or cleanliness issue | Minor Breach |
| UNAPPROVED_AA | Alteration works without approval | Minor Breach |
| UNAUTH_TRADE | Trade outside approved trade | Major Breach |
| UNAUTH_SUBLET | Part/whole of unit used by another party | Major Breach |
| FIRE_SAFETY | Blocked exits, expired extinguishers | Major Breach |
| STRUCTURAL_DEFECT | Spalling, cracks - raise i-EMS ticket | Major Breach |

# 7. Safety

Officers shall not enter areas that appear structurally unsafe. Report structural defects immediately to the Maintenance Coordinator so an i-EMS ticket can be raised (see PLG-SOP-020).